|  | Outgoing No.: ____________ Date: ________ Incoming No.: ____________ Date: ________ |
| --- | --- |
| Customer Information Form |  |

Wastewater Treatment Facilities

Company name ______________________________________________________

______________________________________________________________________________

Company Information:

postal address ______________________________________________________________________

_______________________________________________________________________________

bank details _____________________________________________________________________

_______________________________________________________________________________

_______________________________________________________________________________

I. General Site Data

1. Type of wastewater to be treated:

1.1. Domestic;

1.2. Industrial;

1.3. Surface runoff.

2. Treatment method:

2.1. Mechanical;

2.2. Biological;

2.3. Chemical;

2.4. Polishing (post-treatment).

3. Disinfection system (chlorination):

3.1. Existing (sodium hypochlorite);

3.2. Being reconstructed;

3.3. Being designed

4. Wastewater flow rate:

4.1. Daily (m³/day): min - _________

max - _________

average - _________

4.2. Hourly (m³/h): min - _________

max - _________

average - _________

5. Treated wastewater quality.

Parameter	Unit	Value (min / max / average)

COD	mgO₂/L

BOD₅	mgO₂/L

Suspended solids	mg/L

Ammonium nitrogen	mg/L

Iron (II)	mg/L

Sulfides	mg/L

рН

6. Chemical composition of the internal water supply system at the treatment facilities.

Parameter	Unit	Value

рН

Total hardness 	mg/L as CaCO₃

Calcium hardness	mg/L as CaCO₃

Alkalinity	mg/L as CaCO₃

Note: This information is required to select the appropriate salt solution preparation technology.

II. Site‑Specific Data

1. Please provide a plan of the room intended for the sodium hypochlorite production equipment, showing utility connections:

- Water supply

- Drainage

- Reagent piping (diameters)

- Electrical supply (voltage, cable types)

2. Room dimensions and installation conditions:

- Room height	______ m

- Height difference between the dosing point and the sodium hypochlorite storage tank (if applicable) ______ m

- Number of dosing points;

3. Available water supply pressure

- Max: ______ bar

- Min: ______ bar.

III. Customer Requirements

1. Sodium hypochlorite dosing method:

1.1. Ejector;

1.2. Metering pumps:

1.2.1. Russian-made;

1.2.2. Imported.

2. Other requirements

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_____________________________________________________

7. How did you hear about us?

- Internet search engine

- Our website www.ecofes.ru

- Media

- Social networks

- Other________________________________________________________

Completed by ___________________________________________________________

signature, full name

Position________________________________________________________________________

Phone/ Fax _______________________________________________________________________

E-mail____________________________________________________________________________

Please send the completed form to:

Phone/ Fax : 8 (8635) 26-05-46; 26-02-17; phone: 8 (8635) 26-05-07.

E-mail: 65613@mail.ru, 260546@mail.ru .