|  | Outgoing No.: ____________ Date: ________ Incoming No.: ____________ Date: ________ |
| --- | --- |
| # Customer Information Form |  |

For low-concentration sodium hypochlorite production equipment (CHLOREFS electrolysis units) – drinking water disinfection

Company name___________________________________________

___________________________________________________________________

Company Information:

postal address__________________________________________________________

___________________________________________________________________

bank details _________________________________________________________

___________________________________________________________________

___________________________________________________________________

1. Source Water Characteristics

1.1 Water source

Surface

Groundwater

1.2 Disinfection system

Being designed

Being reconstructed

1.3 Maximum treated water flow rate ________m3/h

1.4 Chemical composition of water

Bicarbonate (HCO₃⁻) ________ mg/L

Calcium (Ca²⁺) ________ mg/L as CaCO₃

Magnesium (Mg²⁺) ________ mg/L as CaCO₃

рН _______

2. Primary Chlorination

2.1 Maximum chlorine dose _______ mg/L

2.2 Dosing point flow rate ________ m³/h:

№1_______ №2_______ №3_______ №4_______ №5_______

2.3 Backpressure at dosing points (bar):

№1_______ №2_______ №3_______ №4_______ №5_______

3. Secondary Chlorination

3.1 Maximum chlorine dose_______mg/L

3.2 Dosing point flow rate _______ m³/h

№1_______ №2_______ №3_______ №4_______ №5_______

3.3 Backpressure at dosing points (bar):

№1_______ №2_______ №3_______ №4_______ №5_______

4. Electrolyzer Unit

4.1 Feed water pressure (bar):

max _______ min _______

4.2 Feed water temperature (°C)

max _______ min _______

4.3 Chlorine production redundancy_______%

5. Room Dimensions for the Electrolysis Unit:

New room

Existing room

W=_______ m L=_______ m H=_______ m

6. Additional Customer Requirements

6.1 Sodium hypochlorite dosing method

Metering pump

Ejector

6.2 Level of automation

Fully automated

Partially automated

6.3 Other requirements_________________________________________________

____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

___________________________________________________________

7. How did you hear about us?

- Internet search engine

- Our website www.ecofes.ru

- Media

- Social networks

- Other________________________________________________________

Completed by_____________________________________________

signature, full name

Position__________________________________________________________

Phone/ Fax ___________________________________________________________

E-mail______________________________________________________________

Please send the completed form to:

Phone/ Fax : 8 (8635) 26-05-46; 26-02-17; phone: 8 (8635) 26-05-07.

E-mail: 65613@mail.ru, 260546@mail.ru .